Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 01-10-2013
Date of Receipt: 01-10-2013
Date of Report: 01-10-2013	

Direct Microscopic Examination

Background Debris and/or Description	Miscellaneous Spores Present	MOLD GROWTH: Molds seen with underlying mycelial and/or sporulating structures	Other Comments	General Impression	
Lab ID-Version: 4534879-1, Analysis Date: 01/10/2013: Swab sample 16	
Heavy	Very few	2+ Colorless spores typical of Penicillium/Aspergillus 	None	Mold growth	
Lab ID-Version: 4534880-1, Analysis Date: 01/10/2013: Bulk sample 17	
Wallboard	Few	3+ Stachybotrys species
2+ Cladosporium species
1+ Chaetomium species	None	Mold growth	
Lab ID-Version: 4534882-1, Analysis Date: 01/10/2013: Tape sample 18	
Light	Very few	None	None	Normal trapping	
Lab ID-Version: 4534883-1, Analysis Date: 01/10/2013: Tape sample 19	
Moderate	Variety	None	A few Stachybotrys spores detected.	Mold growth in vicinity?	
Lab ID-Version: 4534884-1, Analysis Date: 01/10/2013: Tape sample 20	
Moderate	Very few	< 1+ Alternaria species	None	Minimal mold growth