Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 01-11-2013
Date of Receipt: 01-11-2013
Date of Report: 01-11-2013	

Spore Trap

Location:	1:
Outside Reference	2	3	
Comments (see below)	None	None	None	
Lab ID-Version:	4537964-1	4537965-1	4537966-1	
Analysis Date:	01/11/2013	01/11/2013	01/11/2013	
	raw ct.	spores/m3	raw ct.	spores/m3	raw ct.	spores/m3	
Alternaria	1	13			1	13	
Ascospores	6	320	1	53	1	53	
Basidiospores	14	750	2	110	4	210	
Botrytis	2	27					
Chaetomium			2	27			
Cladosporium	22	1,200	47	2,500	9	480	
Epicoccum	1	13					
Fusarium	1	13					
Myrothecium							
Nigrospora							
Other colorless							
Penicillium/Aspergillus types	12	640	39	2,100	11	590	
Pithomyces							
Pyricularia	1	13					
Rusts	1	13					
Smuts, Periconia, Myxomycetes	3	40	1	13	3	40	
Stachybotrys			4	53			
Stemphylium							
Torula							
Ulocladium	1	13					
Zygomycetes							
Background debris (1-4+)	2+		2+		2+		
Sample volume (liters)	75		75		75		
§ TOTAL SPORES/m3		3,000		4,800		1,400	

Comments: