Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 02-01-2013
Date of Receipt: 02-01-2013
Date of Report: 02-08-2013	

Culturable Fungi, Air

Location:	1:
Outside Reference	2	3	
Comments (see below)	None	None	None	
Lab ID-Version:	4591077-1	4591078-1	4591079-1	
Analysis Date:	02/08/2013	02/08/2013	02/08/2013	
Medium:	MEA	MEA	MEA	
	raw ct.	cfu*/m3	raw ct.	cfu*/m3	raw ct.	cfu*/m3	
Acremonium blochii			2	24			
Alternaria alternata	1	12			2	24	
Aspergillus niger	2	24			3	35	
Aspergillus sydowii	2	24					
Aspergillus ustus			3	35			
Aspergillus versicolor					16	190	
Aureobasidium pullulans	1	12					
Cladosporium cladosporioides	12	140	2	24	7	82	
Cladosporium sphaerospermum	2	24					
Epicoccum nigrum	1	12			1	12	
Non-sporulating fungi	2	24			5	59	
Paecilomyces lilacinus					1	12	
Penicillium aurantiogriseum			5	59			
Penicillium brevicompactum	8	94	2	24			
Penicillium decumbens	2	24			3	35	
Penicillium purpurogenum					6	71	
Penicillium spinulosum					2	24	
Penicillium variabile			4	47			
Rhizopus stolonifer			1	12			
Stachybotrys chartarum					1	12	
Ulocladium botrytis	1	12					
Yeasts, other	2	24			3	35	
Positive Hole	400		400		400		
Sample volume (liters)	85		85		85		
§ TOTAL CFU*/M3		420		220		590	

* cfu = colony forming units
Comments: