Eurofins EPK Built Environment Testing, LLC
111 Anza Boulevard, Suite 122, Burlingame, CA 94010
(833) 465-5857  www.eurofinsus.com/Built

Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 02-01-2013
Date of Receipt: 02-01-2013
Date of Report: 02-08-2013	

CULTURABLE AIR FUNGI REPORT

Lab ID-Version‡
Location	Air vol.
(L)	Medium	Dilution
Factor	Bacterial ID	Colony
Counts	CFU/m3	%	
4591077-1
1
Outside Reference

	85

	MEA

	N/A

	Alternaria alternata
Aspergillus niger
Aspergillus sydowii
Aureobasidium pullulans
Cladosporium cladosporioides
Cladosporium sphaerospermum
Epicoccum nigrum
Non-sporulating fungi
Penicillium brevicompactum
Penicillium decumbens
Ulocladium botrytis
Yeasts, other
	1
2
2
1
12
2
1
2
8
2
1
2
	12  
24  
24  
12  
140  
24  
12  
24  
94  
24  
12  
24  
§ Total: 420  	3  
6  
6  
3  
33  
6  
3  
6  
22  
6  
3  
6  
	
Comments: 	
4591078-1
2

	85

	MEA

	N/A

	Acremonium blochii
Aspergillus ustus
Cladosporium cladosporioides
Penicillium aurantiogriseum
Penicillium brevicompactum
Penicillium variabile
Rhizopus stolonifer
	2
3
2
5
2
4
1
	24  
35  
24  
59  
24  
47  
12  
§ Total: 220  	11  
16  
11  
26  
11  
21  
5  
	
Comments: 	
4591079-1
3

	85

	MEA

	N/A

	Alternaria alternata
Aspergillus niger
Aspergillus versicolor
Cladosporium cladosporioides
Epicoccum nigrum
Non-sporulating fungi
Paecilomyces lilacinus
Penicillium decumbens
Penicillium purpurogenum
Penicillium spinulosum
Stachybotrys chartarum
Yeasts, other
	2
3
16
7
1
5
1
3
6
2
1
3
	24  
35  
190  
82  
12  
59  
12  
35  
71  
24  
12  
35  
§ Total: 590  	4  
6  
32  
14  
2  
10  
2  
6  
12  
4  
2  
6  
	
Comments: 	

The limit of detection is 1 raw count per volume of air sampled. The analytical sensitivity is 1 raw count/volume x the positive hole correction factor.

‡ A "Version" indicated by -"x" after the Lab ID# with a value greater than 1 indicates a sample with amended data.  The revision number is reflected by the value of "x".
§ Total has been rounded to two significant figures to reflect analytical precision.