Eurofins EPK Built Environment Testing, LLC
111 Anza Boulevard, Suite 122, Burlingame, CA 94010
(833) 465-5857  www.eurofinsus.com/Built

Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 02-18-2013
Date of Receipt: 02-19-2013
Date of Report: 02-26-2013	

FUNGAL CULTURE REPORT

Lab ID-Version‡
Location
Analysis Date
Sample Type	Sample
Size/
Report
Unit	Medium	Dilution
Factor	Fungal ID	Colony
Counts	CFU/unit	%	
4625433-1
1

Analysis date:
02/26/2013
Swab sample

	Size:
1 swab
Unit:
1 swab

	MEA

	100

	Alternaria alternata
Aspergillus sydowii
Aspergillus versicolor
Aureobasidium pullulans
Cladosporium cladosporioides
Cladosporium herbarum
Epicoccum nigrum
Non-sporulating fungi
Paecilomyces variotii
Penicillium aurantiogriseum
Penicillium brevicompactum
Yeasts, Rhodotorula species
	1
2
12
2
22
2
1
2
1
7
17
7
	100  
200  
1,200  
200  
2,200  
200  
100  
200  
100  
700  
1,700  
700  
§ Total: 7,600  	1  
3  
16  
3  
29  
3  
1  
3  
1  
9  
22  
9  
100  	
Comments: 	
4625434-1
2

Analysis date:
02/26/2013
Bulk sample

	Size:
0.025 gram
Unit:
1 gram

	MEA

	100

	Alternaria alternata
Aspergillus niger
Aspergillus ustus
Aureobasidium pullulans
Botrytis cinerea
Cladosporium herbarum
Cladosporium sphaerospermum
Epicoccum nigrum
Paecilomyces variotii
Penicillium commune
Penicillium decumbens
Stachybotrys chartarum
Yeasts, Rhodotorula species
	2
12
9
6
2
15
32
2
1
6
17
2
3
	8,000  
48,000  
36,000  
24,000  
8,000  
60,000  
130,000  
8,000  
4,000  
24,000  
68,000  
8,000  
12,000  
§ Total: 440,000  	2  
11  
8  
5  
2  
14  
30  
2  
1  
5  
16  
2  
3  
100  	
Comments: 	

Swab and wipe sample measurements are provided by client, unless otherwise noted.

The limit of detection is a raw count of 1 at the lowest dilution plated. The analytical sensitivity is equal to 1 raw count/reporting unit x the dilution factor.

‡ A "Version" indicated by -"x" after the Lab ID# with a value greater than 1 indicates a sample with amended data.  The revision number is reflected by the value of "x".
§ Total has been rounded to two significant figures to reflect analytical precision.