Eurofins Aerotech Built Environment Testing, Inc.
1501 West Knudsen Drive, Phoenix, AZ 85027
(800) 651-4802  www.eurofinsus.com/Built

Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 10-29-2014
Date of Receipt: 10-29-2014
Date of Report: 11-18-2014	

CULTURE BACTERIA REPORT

Lab ID-Version‡
Location
Analysis Date
Sample Type	Sample
Size/
Report
Unit	Medium	Dilution
Factor	Fungal ID	Colony
Counts	CFU/unit	%	
5887868-1
1

Analysis date:
11/18/2014
Swab sample	Size:
1 swab
Unit:
1 swab

	TSA

	10

	Bacillus
Pseudomonas sp.

	8
1

	80  
10  
§ Total: 90  

	89  
11  
100  

	
Comments: Genus ID by BIOLOG and microscopic examination.	
5887869-1
2

Analysis date:
11/18/2014
Water sample	Size:
1 ml
Unit:
1 ml

	TSA

	100

	Bacillus
Microbacterium sp.

	100
2

	10,000  
200  
§ Total: 10,000  

	98  
2  
100  

	
Comments: Genus ID by BIOLOG and microscopic examination.	

Swab and wipe sample measurements are provided by client, unless otherwise noted.

The limit of detection is a raw count of 1 at the lowest dilution plated. The analytical sensitivity is equal to 1 raw count/reporting unit x the dilution factor.

‡ A "Version" indicated by -"x" after the Lab ID# with a value greater than 1 indicates a sample with amended data.  The revision number is reflected by the value of "x".
§ Total has been rounded to two significant figures to reflect analytical precision.