Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 09-07-2015
Date of Receipt: 09-07-2015
Date of Report: 09-21-2015	

Quantitative Legionella Report

Location:	1:
Sink	2:
Faucet	3:
Cooling Tower	
Comments (see below)	None	None	None	
Lab ID-Version:	6577754-1	6577755-1	6577756-1	
Analysis Date:	09/21/2015	09/21/2015	09/21/2015	
Sample type	Swab sample	Water sample	Water sample	
Volume filtered (ml)	N/A	200	N/A	
Reporting Units	1 swab	1 ml	1 ml	
Detection Limit	< 20	< 0.1	< 4	
Analytical Sensitivity	< 40	< 0.1	< 8	
	raw ct.	cfu*/unit	raw ct.	cfu*/unit	raw ct.	cfu*/unit	
L. pneumophila serotype 1					1	8	
L. pneumophila serotype 2-14							
Other Legionella species			10	1			
TOTAL Legionella	ND	< 40	10	1	1	8	

*cfu = colony forming units        ND = none detected
Comments: