{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Lab Report 8543457"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Lab Report 8543457","index":0,"n_rows":17,"n_cols":4,"rows_kept":17,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
["Client: EMLab P&K (QA)",null,"Date of Sampling: 04-05-2018"]
["C/O: Mr. Quality Control",null,"Date of Receipt: 04-05-2018"]
["Re: Sample Report",null,"Date of Report: 04-05-2018"]
[]
["Location:","1: Water","2: Air","3: Dust"]
["Comments (see below)","None","None","None"]
["Lab ID-Version :","8956550-1","8956551-1","8956552-1"]
["Sample Type:","Water sample","Endotoxin free cassette","Dust sample"]
["Measurement:","1 ml","1,000 m3","0.054 gram"]
["1 EU* conversion:","0.11 ng","0.11 ng","0.11 ng"]
["Reporting Unit:","EU/ml","EU/m3","EU/gram"]
["RESULT:",0.006,55,"12,000"]
["Comments:"]
[]
["Eurofins EPK Built Environment Testing, LLC"]
["EMLab Id: 1906283"]