Client: EMLab P&K (QA)
C/O: Mr. Quality Control
Re: Sample Report	Date of Sampling: 04-05-2018
Date of Receipt: 04-05-2018
Date of Report: 04-05-2018	

ENDOTOXIN REPORT

Location:	1:
Water	2:
Air	3:
Dust	
Comments (see below)	None	None	None	
Lab ID-Version:	8956550-1	8956551-1	8956552-1	
Sample Type:	Water sample	Endotoxin free cassette	Dust sample	
Measurement:	1 ml	1,000 m3	0.054 gram	
1 EU* conversion:	0.11 ng	0.11 ng	0.11 ng	
Reporting Unit:	EU/ml	EU/m3	EU/gram	
RESULT:	0.006	55	12,000	

Comments: 

* EU - Endotoxin Unit. The EU conversion varies with the potency of the standard provided by the manufacturer.

‡ A "Version" indicated by -"x" after the Lab ID# with a value greater than 1 indicates a sample with amended data.  The revision number is reflected by the value of "x".